# Requirements Table — Remote Patient Vitals Alert & Monitoring App

Problem Statement #16 | Healthcare & Telemedicine

| Req ID | Type | Description | Priority | Acceptance Criteria | Rationale |
| --- | --- | --- | --- | --- | --- |
| FR-001 | Functional | The system shall continuously evaluate ingested patient vitals against configured clinical thresholds and flag critical anomalies within 2 seconds. | High | Pass: A high heart rate (>140 BPM) triggers an immediate escalation alert. Fail: A metric spike is ignored or the alert is delayed by more than 5 seconds. | Rapid anomaly detection is the foundation of the monitoring pipeline and directly protects patient safety. |
| FR-002 | Functional | The system shall send an immediate alert notification to the on-call caregiver when a patient's vital sign breaches a critical threshold. | High | Pass: The caregiver receives an alert notification within 5 seconds of the threshold breach. Fail: The alert is not received, or is received more than 5 seconds after the breach. | Timely notification is essential so caregivers can intervene before a patient's condition worsens. |
| FR-003 | Functional | The system shall escalate an unacknowledged critical alert to the next available caregiver in the caregiver matrix if the primary on-call caregiver does not respond within 2 minutes. | High | Pass: If the primary caregiver does not acknowledge the alert within 2 minutes, the system automatically notifies the next caregiver in the matrix. Fail: The alert remains only with the unresponsive caregiver beyond 2 minutes with no escalation. | Guarantees a critical alert is never missed simply because one caregiver is unavailable. |
| FR-004 | Functional | The system shall display a patient's live vital signs (SpO2, Heart Rate, BP) on the caregiver's dashboard, refreshed at least once every 5 seconds. | Medium | Pass: The dashboard refreshes displayed vitals at least every 5 seconds and matches the wearable device's latest reading. Fail: The dashboard shows values older than 10 seconds or fails to update. | Allows caregivers to proactively review patient status rather than relying solely on alerts. |
| FR-005 | Functional | The system shall require a remote patient's wearable device to register and authenticate with the monitoring platform before any vitals data is accepted. | Medium | Pass: Vitals data from an unregistered or unauthenticated device is rejected and logged; data from a registered device is accepted within 2 seconds of transmission. Fail: Data from an unregistered device is accepted into the monitoring pipeline. | Prevents spoofed or unauthorized telemetry from corrupting a patient's clinical record. |
| NFR-001 | Nonfunctional (Performance & Security) | The telemetry ingestion gateway shall support at least 500 concurrent continuous telemetry streams with 99.99% uptime. | High | Pass: Benchmarking tests confirm target latency and security standards are met under simulated peak load. Fail: Latency, uptime, or security targets are not met under load. | The system must scale to hospital-wide patient loads without degrading alert responsiveness. |
| NFR-002 | Nonfunctional (Reliability) | The system shall locally buffer up to 10 minutes of vitals data on the wearable device during a loss of network connectivity and automatically resynchronize this data without loss upon reconnection. | High | Pass: A simulated 5-minute network outage results in zero data loss and automatic resync within 30 seconds of reconnection. Fail: Any buffered reading is lost, or manual intervention is required to resync. | Remote patients often experience intermittent connectivity, so the clinical record must remain complete despite network gaps. |

Note: FR-001 and NFR-001 (shaded rows) were provided in the problem statement; all other rows were authored for this submission.